## Slide 1
Linux Server
(RPI 4)
MQTT BROKER
Sensor
Irrigation
Monitor
Irrigation
Process
S002D
S002C
Monitor
Process
MQTT – Data
MQTT – Command
Digital
Analog
Legend:
S001D
S001C
Monitor
Tank
Process
S003D
S003C
Monitor
House
Process
S005D
S005C
Monitor
Wells
Process
Alert
Process
MQTT
Blynk Cloud
Milano Water Project
PyRainbird
Process
Rainbird ESPs
P001C
P001D
S006D
S006C
Monitor
Well3
Process
I001D
T001D
H001D
W001D
W002D
*future
*future
Sensor
Tank
Sensor
House
Sensor
Wells
Sensor
Well3
Current SensorX4
Pressure Sw
Septic Alert
Tank Floats
Pressure
Pressure
Pressure
Flow Sensor
Flow Sensor
Flow Sensor
Water Level
Log
Process
influxDB
Blynk
water
Process
Blynk
Alert
Process
Flow Sensor
Telegraf
Process
MonitorMQTT

## Slide 2
5V
12V
Vin GND
A3. A2. A1. A0
SDA
SCL
Vin GND
A3. A2. A1. A0
Analog Input Board I2C
A0 – Well #1
A1 – Well #2
A2 – Well #3
A3 – Irrigation
A0 – Irrig Pressure
A1 – House Pressure
A2 – Tank Depth Sensor
A3 – Unused