## Sheet1
|  | #define ESP_CLIENTID | "ESP8266 Client", #define ESP_TOPIC "Tank ESP", tank_esp_ , #define ESP_LEN 21
|  | /* payload 0 | CH1 Unused Damaged/Dead
|  | * payload 1 | CH2 Raw Sensor Current Sense Well 1 16bit
|  | * payload 2 | CH3 Raw Sensor Current Sense Well 2 16bit
|  | * payload 3 | CH4 Raw Sensor Current Sense Well 3 16bit
|  | * payload 4 | GPIO 8 bits Hex (bits 0-3 floats, bit 4-pump1&2 commanded, bit 5 septic alert, bit 6&7 spare)
|  | * payload 5 | Raw Temp Celcius | #define F_CLIENTID | "Tank Subscriber", #define F_TOPIC "Formatted Sensor Data", #define F_LEN 21 formatted_sensor_,
|  | * payload 6 | unused | /* payload[0] = | Pressure Sensor Value
|  | * payload 7 | unused | * payload[1] = | Water Height
|  | * payload 8 | CH1 4-20 mA Raw Tank Sensor HydroStatic Pressure 16bit | * payload[2] = | Tank Gallons
|  | * payload 9 | CH2 Raw Sensor House Water Pressure 16bit ADC 0-5v | * payload[3] = | Tank Percent Full
|  | * payload 10 | CH3 Unused 2 16bit | * payload[4] = | Current Sensor 1 Value
|  | * payload 11 | CH4 Raw Sensor Current Sense Irrigation pump 4 (16bit) | * payload[5] = | Current Sensor 2 Value
|  | * payload 12 | Cycle Counter 16bit Int | * payload[6] = | Current Sensor 3 Value
|  | * payload 13 | spare | * payload[7] = | Current Sensor 4 Value
|  | * payload 14 | spare | * payload[8] = | Firmware Version of ESP
|  | * payload 15 | spare | * payload[9] = | I2C Fault Count
|  | * payload 16 | I2C Panic Count 16bit Int | * payload[10] = | Cycle Count
|  | * payload 17 | TMP100 I2C Error | * payload[11] = | Ambient Temperature
|  | * payload 18 | MCP23008 I2C Error | * payload[12] = | Float State 1
|  | * payload 19 | MCP3428 I2C Error | * payload[13] = | Float State 2
|  | * payload 20 | FW Version 4 Hex | * payload[14] = | Float State 3
|  | */ |  | * payload[15] = | Float State 4
|  | /* |  | * payload[16] = | Pressure Switch State
|  | unsigned short int | data_payload[ESP_LEN] ; | * payload[17] = | House Water Pressure Value
|  | */ |  | * payload[18] = | Septic Alert
|  |  |  | * payload[19] = | spare
|  |  |  | * payload[20] = | spare
*/
//Blynk.virtualWrite (V | 0 | , blynk_payload[0]) | ; //Unused | /*
Blynk.virtualWrite (V | 1 | ,formatted_sensor_payload[1]) | ; //Level ft | float | formatted_sensor_payload[F_LEN];
Blynk.virtualWrite (V | 2 | ,formatted_sensor_payload[2]) | ; //Gallons | */
Blynk.virtualWrite (V | 3 | ,formatted_sensor_payload[3]) | ; //Level %
Blynk.virtualWrite (V | 4 | ,monitor_sensor_payload[16]) | ; //Septic Alert
Blynk.virtualWrite (V | 5 | ,monitor_sensor_payload[0]) | ; //Pump Current Sense P1
Blynk.virtualWrite (V | 6 | ,monitor_sensor_payload[1]) | ; //Pump Current Sense P2
Blynk.virtualWrite (V | 7 | ,monitor_sensor_payload[2]) | ; //Pump Current Sense P3
Blynk.virtualWrite (V | 8 | ,flow_sensor_payload[10]) | ; //irrigation pump temperature | #define M_CLIENTID | "Tank Monitor", #define M_TOPIC "Monitor Data", #define M_LEN 21, monitor_sensor_,
Blynk.virtualWrite (V | 9 | ,(int)formatted_sensor_payload[9]) | ; //Faults | /* payload[0] = | PumpCurrentSense[1];
Blynk.virtualWrite (V | 10 | ,(int)formatted_sensor_payload[10]) | ; //Cycle Count | * payload[1] = | PumpCurrentSense[2];
Blynk.virtualWrite (V | 11 | ,formatted_sensor_payload[11]) | ; //System Temperature f | * payload[2] = | PumpCurrentSense[3];
Blynk.virtualWrite (V | 12 | ,floatState[4]) | ; //Float 1 Hi | * payload[3] = | PumpCurrentSense[4];
Blynk.virtualWrite (V | 13 | ,floatState[3]) | ; //Float 2 90% | * payload[4] = | PumpLedColor[1];
Blynk.virtualWrite (V | 14 | ,floatState[2]) | ; //Float 3 50% | * payload[5] = | PumpLedColor[2];
Blynk.virtualWrite (V | 15 | ,floatState[1]) | ; //Float 4 Low | * payload[6] = | PumpLedColor[3];
Blynk.virtualWrite (V | 16 | ,flow_sensor_payload[0]) | ; //Gallons per Minute (Rolling Average) | * payload[7] = | PumpLedColor[4];
Blynk.virtualWrite (V | 17 | ,flow_sensor_payload[1]) | ; //Daily Total Gallons | * payload[8] = | PumpRunCount; //byte4-pump4;byte3-pump3;byte2-pump2;byte1-pump1
Blynk.virtualWrite (V | 18 | ,flow_sensor_payload[2]) | ; //irrigation System Pressure PSI | * payload[9] = | PumpRunTime{1] ; //Seconds
Blynk.virtualWrite (V | 19 | ,formatted_sensor_payload[17]) | ; //House Water Press | * payload[10] = | PumpRunTime{2] ; //Seconds
Blynk.virtualWrite (V | 20 | ,monitor_sensor_payload[3]) | ; //Pump Current Sense P4 | * payload[11] = | PumpRunTime{3] ; //Seconds
Blynk.virtualWrite (V | 21 | ,monitor_sensor_payload[18]) | ; //Home Tank Pressure Relay Sense | * payload[12] = | PumpRunTime{4] ; //Seconds
Blynk.virtualWrite (V | 22 | ,PumpRunCount[1]) | ; //Pump Run Count P1 | * payload[13] = | 43floatState; //byte34-float4;byte123-float3
Blynk.virtualWrite (V | 23 | ,PumpRunCount[2]) | ; //Pump Run Count P2 | * payload[14] = | 21floatState; //bytes34-float2;byte12-float1
Blynk.virtualWrite (V | 24 | ,PumpRunCount[3]) | ; //Pump Run Count P3 | * payload[15] = | AllfloatLedcolor; //byte4-color4;byte3-color3;byte2-color2;byte1-color1
Blynk.virtualWrite (V | 25 | ,PumpRunCount[4]) | ; //Pump Run Count P4 | * payload[16] = | Septic Relay Alert
Blynk.virtualWrite (V | 26 | ,(monitor_sensor_payload[9]/60.)) | ; //PumpRunTime P1 | * payload[17] = | Septic Relay Alert Color
Blynk.virtualWrite (V | 27 | ,(monitor_sensor_payload[10]/60.)) | ; //PumpRunTime P2 | * payload[18] = | Pressure Relay Sense
Blynk.virtualWrite (V | 28 | ,(monitor_sensor_payload[11]/60.)) | ; //PumpRunTime P3 | * payload[19] = | Pressure LED Color
Blynk.virtualWrite (V | 29 | ,(monitor_sensor_payload[12]/60.)) | ; //PumpRunTime P4 | * payload[20] = | spare
Blynk.virtualWrite (V | 30 | ,(flow_sensor_payload[3])) | ; //irrigation pump temperature | */
/*
|  | #define FLO_CLIENTID | "ESP8266 ClientFlow", #define FLO_TOPIC "Flow ESP", flow_esp_ , #define FLO_LEN 21 | int | monitor_sensor_payload[M_LEN];
|  | /* payload 0 | Pulses Counted in Time Window | */
|  | * payload 1 | Number of milliseconds in Time Window
|  | * payload 2 | Flag 1=new data 0=stale data
|  | * payload 3 | Pressure Sensor Analog Value
|  | * payload 4 | unused
|  | * payload 5 | unused
|  | * payload 6 | unused | #define A_CLIENTID | "Tank Alert", #define A_TOPIC "Alert Data", #define A_LEN 21, alert_sensor_,
|  | * payload 7 | unused | /* payload[0] = | spare
|  | * payload 8 | unused | * payload[1] = | spare
|  | * payload 9 | unused | * payload[2] = | spare
|  | * payload 10 | unused | * payload[3] = | spare
|  | * payload 11 | unused | * payload[4] = | spare
|  | * payload 12 | Cycle Counter 16bit Int | * payload[5] = | spare
|  | * payload 13 | unused | * payload[6] = | spare
|  | * payload 14 | unused | * payload[7] = | spare
|  | * payload 15 | unused | * payload[8] = | spare
|  | * payload 16 | unused | * payload[9] = | spare
|  | * payload 17 | Temperature in F Float Bytes 1&2 | * payload[10] = | spare
|  | * payload 18 | Temperature in F Float Bytes 3&4 | * payload[11] = | spare
|  | * payload 19 | unused | * payload[12] = | spare
|  | * payload 20 | FW Version 4 Hex | * payload[13] = | spare
|  | */ |  | * payload[14] = | spare
|  | /* |  | * payload[15] = | spare
|  | unsigned short int | flow_data_payload[FLO_LEN] ; | * payload[16] = | spare
|  | */ |  | * payload[17] = | spare
|  |  |  | * payload[18] = | spare
|  |  |  | * payload[19] = | spare
|  |  |  | * payload[20] = | spare
*/
/*
|  |  |  | int | alert_sensor_payload[A_LEN];
*/
|  |  |  | #define Fl_CLIENTID | "Flow Monitor", #define FL_TOPIC "Flow Data", #define FL_LEN 21, flow_sensor_,
|  |  |  | /* payload[0] = | Gallons Per Minute
|  |  |  | * payload[1] = | Total Gallons (24 Hrs)
|  |  |  | * payload[2] = | Irrigation Pressure
|  |  |  | * payload[3] = | Pump Temperature
|  |  |  | * payload[4] = | spare
|  |  |  | * payload[5] = | spare
|  |  |  | * payload[6] = | spare
|  |  |  | * payload[7] = | spare
|  |  |  | * payload[8] = | spare
|  |  |  | * payload[9] = | spare
|  |  |  | * payload[10] = | Cycle Count
|  |  |  | * payload[11] = | spare
|  |  |  | * payload[12] = | spare
|  |  |  | * payload[13] = | spare
|  |  |  | * payload[14] = | spare
|  |  |  | * payload[15] = | spare
|  |  |  | * payload[16] = | spare
|  |  |  | * payload[17] = | spare
|  |  |  | * payload[18] = | spare
|  |  |  | * payload[19] = | spare
|  |  |  | * payload[20] = | spare
*/
/*
|  |  |  | float | flow_sensor_payload[FL_LEN];
*/
Sensor Input Raw Data from ESPClient.c
/*Raw Sensor Data Conversion and Formatted by
subsriber.c() */
MQTT
Broker
Sensor Input
Raw Data
from ESP32
/*Data Formatted for Blynk
monitor.c() */
Converted &
Formatted
Sensor Data
/* Compute Alerts alert.c() */
Converted &
Formatted
Sensor Data
Formatted
Sensor
Data
Converted &
Formatted
Sensor Data
Formatted
Sensor
Data
Alert Data
Sensor Input Raw Data from ESPClientflow.c
/*Data Formatted for Blynk
flowmonitor.c() */
Flow Data

## Sheet2
SystemData[5] | PumpCurrentSense[1];
SystemData[6] | PumpCurrentSense[2];
SystemData[7] | PumpCurrentSense[3];
SystemData[8] | firmware;
SystemData[9] | data_payload[16]; //I2C Faults
SystemData[10] | data_payload[12]; //Cycle Count
SystemData[11] | AmbientTempF;
SystemData[12] | floatstate[1];
SystemData[13] | floatstate[2];
SystemData[14] | floatstate[3];
SystemData[15] | floatstate[4];
SystemData[16] | PumpLedColor[1];
SystemData[17] | PumpLedColor[2];
SystemData[18] | PumpLedColor[3];
SystemData[19] | floatLedcolor[1];
SystemData[20] | floatLedcolor[2];
SystemData[21] | floatLedcolor[3];
SystemData[22] | floatLedcolor[4];
SystemData[23] | Pump[1].RunCommanded;
SystemData[24] | Pump[2].RunCommanded;
SystemData[25] | Pump[3].RunCommanded;
SystemData[26] | WaterPresSensorValue;
SystemData[27] | PumpCurrentSense[4];
SystemData[28] | PumpLedColor[4];
SystemData[29] | pressState;
SystemData[30] | pressLedColor;